## Sheet1
INSTALASI | KODE ZONA | NAMA ZONA | NAMA CHECKPOINT | KATEGORI OBJEK | NAMA OBJEK
PLANT 4 LINE 2 | ADMP4L2CRI | CRITICAL AREA | CRITICAL AREA_BBM ASSY 2 | BBM | BBM DEPAN POS 1
PLANT 4 LINE 2 | ADMP4L2CRI | CRITICAL AREA | CRITICAL AREA_BBM ASSY 2 | HYDRANT | HYDRANT SAMPING GATE 8
PLANT 4 LINE 2 | ADMP4L2CRI | CRITICAL AREA | CRITICAL AREA_BBM ASSY 2 | APAR | APAR AREA BBM ASSY 2
PLANT 4 LINE 2 | ADMP4L2CRI | CRITICAL AREA | CRITICAL AREA_GROUND TANK | GROUND TANK | GROUND TANK SAMPING TPA ASSY 2
PLANT 4 LINE 2 | ADMP4L2CRI | CRITICAL AREA | CRITICAL AREA_GROUND TANK | HYDRANT | HYDRANT SAMPING GROUND TANK
PLANT 4 LINE 2 | ADMP4L2CRI | CRITICAL AREA | CRITICAL AREA_GROUND TANK | APAR | APAR GROUND TANK
PLANT 4 LINE 2 | ADMP4L2CRI | CRITICAL AREA | CRITICAL AREA_WWT 2 | GROUND TANK | GROUND TANK AREA WWT 2
PLANT 4 LINE 2 | ADMP4L2CRI | CRITICAL AREA | CRITICAL AREA_WWT 2 | COOLING TOWER | COOLING TOWER SEPAN POS PCD
PLANT 4 LINE 2 | ADMP4L2CRI | CRITICAL AREA | CRITICAL AREA_WWT 2 | TANGKI NITROGEN | TANGKI NITROGEN AREA WWT 2
PLANT 4 LINE 2 | ADMP4L2CRI | CRITICAL AREA | CRITICAL AREA_WWT 2 | HYDRANT | HYDRANT PAGAR PEMBATAS PPL
PLANT 4 LINE 2 | ADMP4L2CRI | CRITICAL AREA | CRITICAL AREA_WWT 2 | WWT | WWT 2
PLANT 4 LINE 2 | ADMP4L2CRI | CRITICAL AREA | CRITICAL AREA_WWT 2 | GENSET | GENSET UTILITY 2
PLANT 4 LINE 2 | ADMP4L2CRI | CRITICAL AREA | CRITICAL AREA_WWT 2 | APAR | APAR AREA WWT 2
PLANT 4 LINE 2 | ADMP4L2FAC | FACTORY | FACTORY_VLD | PANEL LISTRIK | PANEL LISTRIK SAMPING OFFICE TOYOTA
PLANT 4 LINE 2 | ADMP4L2FAC | FACTORY | FACTORY_VLD | LAMPU | LAMPU AREA VLD
PLANT 4 LINE 2 | ADMP4L2FAC | FACTORY | FACTORY_VLD | APAR | APAR AREA VLD
PLANT 4 LINE 2 | ADMP4L2FAC | FACTORY | FACTORY_VLD | HYDRANT | HYDRANT AREA VLD
PLANT 4 LINE 2 | ADMP4L2FAC | FACTORY | FACTORY_DUNEX | PANEL LISTRIK | PANEL LISTRIK PARKIR KR 2 DUNEX
PLANT 4 LINE 2 | ADMP4L2FAC | FACTORY | FACTORY_DUNEX | LAMPU | LAMPU AREA DUNEX
PLANT 4 LINE 2 | ADMP4L2FAC | FACTORY | FACTORY_DUNEX | APAR | APAR POS DUNEX
PLANT 4 LINE 2 | ADMP4L2FAC | FACTORY | FACTORY_ASSEMBLING 2 | DOOR | DOOR OFFICE ASSEMBLING 2
PLANT 4 LINE 2 | ADMP4L2FAC | FACTORY | FACTORY_ASSEMBLING 2 | LAMPU | LAMPU OFFICE ASSEMBLING 2
PLANT 4 LINE 2 | ADMP4L2FAC | FACTORY | FACTORY_ASSEMBLING 2 | PANEL LISTRIK | PANEL LISTRIK OFFICE ASSEMBLING 2
PLANT 4 LINE 2 | ADMP4L2FAC | FACTORY | FACTORY_ASSEMBLING 2 | AC | AC OFFICE ASSEMBLING 2
PLANT 4 LINE 2 | ADMP4L2FAC | FACTORY | FACTORY_ASSEMBLING 2 | APAR | APAR OFFICE ASSEMBLING 2
PLANT 4 LINE 2 | ADMP4L2FAC | FACTORY | FACTORY_HEMING | PANEL LISTRIK | PANEL LISTRIK AREA IMPROVE
PLANT 4 LINE 2 | ADMP4L2FAC | FACTORY | FACTORY_HEMING | MESIN PRODUKSI | MESIN PRODUKSI AREA HEMING
PLANT 4 LINE 2 | ADMP4L2FAC | FACTORY | FACTORY_HEMING | LAMPU | LAMPU LOADING
PLANT 4 LINE 2 | ADMP4L2FAC | FACTORY | FACTORY_HEMING | DOOR | DOOR AREA HEMING
PLANT 4 LINE 2 | ADMP4L2FAC | FACTORY | FACTORY_HEMING | APAR | APAR AREA HEMING
PLANT 4 LINE 2 | ADMP4L2FAC | FACTORY | FACTORY_HEMING | HYDRANT | HYDRANT AREA HEMING
PLANT 4 LINE 2 | ADMP4L2FAC | FACTORY | FACTORY_UBX | LAMPU | LAMPU AREA UBX
PLANT 4 LINE 2 | ADMP4L2FAC | FACTORY | FACTORY_UBX | DOOR | DOOR AREA UBX
PLANT 4 LINE 2 | ADMP4L2FAC | FACTORY | FACTORY_UBX | APAR | APAR AREA UBX
PLANT 4 LINE 2 | ADMP4L2FAC | FACTORY | FACTORY_UBX | HYDRANT | HYDRANT AREA UBX
PLANT 4 LINE 2 | ADMP4L2OFC | OFFICE | OFFICE_LOBBY | DOOR | DOOR DOOR UTAMA DAN TIMUR
PLANT 4 LINE 2 | ADMP4L2OFC | OFFICE | OFFICE_LOBBY | LAMPU | LAMPU AREA LOBBY P4
PLANT 4 LINE 2 | ADMP4L2OFC | OFFICE | OFFICE_LOBBY | PANEL LISTRIK | PANEL LISTRIK RUANG PANEL LT1
PLANT 4 LINE 2 | ADMP4L2OFC | OFFICE | OFFICE_LOBBY | AC | AC AREA LOBBY P4
PLANT 4 LINE 2 | ADMP4L2OFC | OFFICE | OFFICE_LOBBY | APAR | APAR RUANG TUNGGU TAMU SEBELAH BARAT
PLANT 4 LINE 2 | ADMP4L2OFC | OFFICE | OFFICE_AUDITORIUM LT.4 | DOOR | DOOR RUANG MEETING DAN AUDITORIUM
PLANT 4 LINE 2 | ADMP4L2OFC | OFFICE | OFFICE_AUDITORIUM LT.4 | LAMPU | LAMPU OFFICE LT 4
PLANT 4 LINE 2 | ADMP4L2OFC | OFFICE | OFFICE_AUDITORIUM LT.4 | PANEL LISTRIK | PANEL LISTRIK RUANG PANEL LT 4
PLANT 4 LINE 2 | ADMP4L2OFC | OFFICE | OFFICE_AUDITORIUM LT.4 | AC | AC OFFICE LT 4
PLANT 4 LINE 2 | ADMP4L2OFC | OFFICE | OFFICE_AUDITORIUM LT.4 | APAR | APAR DEPAN RUANG PANEL LT 4
PLANT 4 LINE 2 | ADMP4L2OFC | OFFICE | OFFICE_PAINTING 2 | DOOR | DOOR PINTU UTAMA
PLANT 4 LINE 2 | ADMP4L2OFC | OFFICE | OFFICE_PAINTING 2 | LAMPU | LAMPU AREA OFFICE PAINTING 2
PLANT 4 LINE 2 | ADMP4L2OFC | OFFICE | OFFICE_PAINTING 2 | PANEL LISTRIK | PANEL LISTRIK AREA OFFICE PAINTING 2
PLANT 4 LINE 2 | ADMP4L2OFC | OFFICE | OFFICE_PAINTING 2 | AC | AC AREA OFFICE PAINTING 2
PLANT 4 LINE 2 | ADMP4L2OFC | OFFICE | OFFICE_PAINTING 2 | APAR | APAR AREA OFFICE PAINTING 2
PLANT 4 LINE 2 | ADMP4L2OFC | OFFICE | OFFICE_QUALITY INCOMING | PAGAR | PAGAR PAGAR PEMBATAS WARGA BELAKANG
PLANT 4 LINE 2 | ADMP4L2OFC | OFFICE | OFFICE_QUALITY INCOMING | RAM PEMBATAS | RAM PEMBATAS PAGAR PEMBATAS WARGA BELAKANG
PLANT 4 LINE 2 | ADMP4L2OFC | OFFICE | OFFICE_QUALITY INCOMING | CCTV | CCTV DEPAN QUALITY INCOMING
PLANT 4 LINE 2 | ADMP4L2OFC | OFFICE | OFFICE_QUALITY INCOMING | HYDRANT | HYDRANT PAGAR PEMBATAS SAMPING
PLANT 4 LINE 2 | ADMP4L2PAR | PARIMETER | PARIMETER_POSKO ASSY 2 | GATE | GATE GATE 8 DAN 9
PLANT 4 LINE 2 | ADMP4L2PAR | PARIMETER | PARIMETER_POSKO ASSY 2 | PAGAR | PAGAR GATE 8 DAN 9
PLANT 4 LINE 2 | ADMP4L2PAR | PARIMETER | PARIMETER_POSKO ASSY 2 | LAMPU | LAMPU AREA POSKO ASSY 2
PLANT 4 LINE 2 | ADMP4L2PAR | PARIMETER | PARIMETER_POSKO ASSY 2 | POMPA BANJIR | POMPA BANJIR SAMPING GATE 9
PLANT 4 LINE 2 | ADMP4L2PAR | PARIMETER | PARIMETER_POSKO ASSY 2 | RAM PEMBATAS | RAM PEMBATAS SEPANJANG PAGAR GATE 8 DAN 9
PLANT 4 LINE 2 | ADMP4L2PAR | PARIMETER | PARIMETER_POSKO ASSY 2 | CCTV | CCTV GATE 8 DAN 9
PLANT 4 LINE 2 | ADMP4L2PAR | PARIMETER | PARIMETER_POSKO ASSY 2 | HYDRANT | HYDRANT SAMPING GATE 8
PLANT 4 LINE 2 | ADMP4L2PAR | PARIMETER | PARIMETER_POS PCD | GATE | GATE GATE 10
PLANT 4 LINE 2 | ADMP4L2PAR | PARIMETER | PARIMETER_POS PCD | PAGAR | PAGAR PAGAR PEMBATAS WARGA
PLANT 4 LINE 2 | ADMP4L2PAR | PARIMETER | PARIMETER_POS PCD | LAMPU | LAMPU POS PCD
PLANT 4 LINE 2 | ADMP4L2PAR | PARIMETER | PARIMETER_POS PCD | RAM PEMBATAS | RAM PEMBATAS PAGAR PEMBATAS WARGA
PLANT 4 LINE 2 | ADMP4L2PAR | PARIMETER | PARIMETER_POS PCD | CCTV | CCTV DEPAN GUDANG MTN
PLANT 4 LINE 2 | ADMP4L2PAR | PARIMETER | PARIMETER_POS PCD | HYDRANT | HYDRANT SAMPING POS PCD
PLANT 4 LINE 2 | ADMP4L2PAR | PARIMETER | PARIMETER_AREA PARKIR PRISMAS | PAGAR | PAGAR PAGAR PEMBATAS WARGA
PLANT 4 LINE 2 | ADMP4L2PAR | PARIMETER | PARIMETER_AREA PARKIR PRISMAS | RAM PEMBATAS | RAM PEMBATAS PAGAR PEMBATAS WARGA
PLANT 4 LINE 2 | ADMP4L2PAR | PARIMETER | PARIMETER_AREA PARKIR PRISMAS | LAMPU | LAMPU AREA PARKIR PRISMAS
PLANT 4 LINE 2 | ADMP4L2PAR | PARIMETER | PARIMETER_AREA PARKIR PRISMAS | HYDRANT | HYDRANT SAMPING POS 12
PLANT 4 LINE 2 | ADMP4L2PAR | PARIMETER | PARIMETER_AREA PARKIR PRISMAS | CCTV | CCTV DEPAN POS 12 LOADING UD TRUCK
PLANT 4 LINE 2 | ADMP4L2PAR | PARIMETER | PARIMETER_LORONG PPL | GATE | GATE GATE PEMBATAS PPL DAN LORONG
PLANT 4 LINE 2 | ADMP4L2PAR | PARIMETER | PARIMETER_LORONG PPL | LAMPU | LAMPU AREA LORONG PPL
PLANT 4 LINE 2 | ADMP4L2PAR | PARIMETER | PARIMETER_LORONG PPL | CCTV | CCTV AREA LORONG PPL
PLANT 4 LINE 2 | ADMP4L2PAR | PARIMETER | PARIMETER_LORONG PPL | HYDRANT | HYDRANT AREA LORONG PPL
PLANT 4 LINE 2 | ADMP4L2PAR | PARIMETER | PARIMETER_POS 14 | GATE | GATE GATE 7 GM
PLANT 4 LINE 2 | ADMP4L2PAR | PARIMETER | PARIMETER_POS 14 | LAMPU | LAMPU AREA HEMMING
PLANT 4 LINE 2 | ADMP4L2PAR | PARIMETER | PARIMETER_POS 14 | CCTV | CCTV AREA HEMMING
PLANT 4 LINE 2 | ADMP4L2PAR | PARIMETER | PARIMETER_POS 14 | APAR | APAR AREA HEMMING
PLANT 4 LINE 2 | ADMP4L2PAR | PARIMETER | PARIMETER_POS 14 | HYDRANT | HYDRANT AREA HEMMING
PLANT 4 LINE 2 | ADMP4L2PAR | PARIMETER | PARIMETER_SEWING PPL | GATE | GATE GATE PERBATSAN PPL
PLANT 4 LINE 2 | ADMP4L2PAR | PARIMETER | PARIMETER_SEWING PPL | PAGAR | PAGAR PAGAR PEMBATAS PPL DAN GM
PLANT 4 LINE 2 | ADMP4L2PAR | PARIMETER | PARIMETER_SEWING PPL | LAMPU | LAMPU POS XENIA 15
PLANT 4 LINE 2 | ADMP4L2PAR | PARIMETER | PARIMETER_SEWING PPL | RAM PEMBATAS | RAM PEMBATAS PAGAR PEMBATAS PPL DAN GM
PLANT 4 LINE 2 | ADMP4L2PAR | PARIMETER | PARIMETER_SEWING PPL | CCTV | CCTV AREA SEWING PPL
PLANT 4 LINE 2 | ADMP4L2PAR | PARIMETER | PARIMETER_SEWING PPL | HYDRANT | HYDRANT SAMPING POS XENIA 15
PLANT 4 LINE 2 | ADMP4L2FAS | FASUM | FASUM_PARKIRAN KR4 | LAMPU | LAMPU PARKIR BOD
PLANT 4 LINE 2 | ADMP4L2FAS | FASUM | FASUM_PARKIRAN KR4 | PANEL LISTRIK | PANEL LISTRIK PARKIR BOD
PLANT 4 LINE 2 | ADMP4L2FAS | FASUM | FASUM_PARKIRAN KR4 | APAR | APAR SAMPING PARKIR BOD
PLANT 4 LINE 2 | ADMP4L2FAS | FASUM | FASUM_PARKIRAN KR4 | HYDRANT | HYDRANT SMOKING AREA BOD
PLANT 4 LINE 2 | ADMP4L2FAS | FASUM | FASUM_MASJID LT.2 & LT.1 | LAMPU | LAMPU AREA MASJID NURUSSALAM
PLANT 4 LINE 2 | ADMP4L2FAS | FASUM | FASUM_MASJID LT.2 & LT.1 | PANEL LISTRIK | PANEL LISTRIK AREA MASJID NURUSSALAM
PLANT 4 LINE 2 | ADMP4L2FAS | FASUM | FASUM_MASJID LT.2 & LT.1 | APAR | APAR AREA MASJID NURUSSALAM
PLANT 4 LINE 2 | ADMP4L2FAS | FASUM | FASUM_MASJID LT.2 & LT.1 | HYDRANT | HYDRANT AREA MASJID NURUSSALAM
PLANT 4 LINE 2 | ADMP4L2FAS | FASUM | FASUM_TAMAN UNITY PARK | LAMPU | LAMPU AREA TAMAN UNITY
PLANT 4 LINE 2 | ADMP4L2FAS | FASUM | FASUM_TAMAN UNITY PARK | PANEL LISTRIK | PANEL LISTRIK SAMPING RUANG SP
PLANT 4 LINE 2 | ADMP4L2FAS | FASUM | FASUM_TAMAN UNITY PARK | APAR | APAR IMPROVE PAINTING 2
PLANT 4 LINE 2 | ADMP4L2FAS | FASUM | FASUM_TAMAN UNITY PARK | HYDRANT | HYDRANT SAMPING RUANG SP
PLANT 4 LINE 2 | ADMP4L2FAS | FASUM | FASUM_TPA PPL | LAMPU | LAMPU AREA TPA PPL
PLANT 4 LINE 2 | ADMP4L2FAS | FASUM | FASUM_TPA PPL | APAR | APAR CAS BATRAI FORKLIP DEPAN TPA PPL
PLANT 4 LINE 2 | ADMP4L2FAS | FASUM | FASUM_TPA PPL | HYDRANT | HYDRANT DEPAN TPA PPL
PLANT 4 LINE 2 | ADMP4L2FAS | FASUM | FASUM_TPA PPL | PANEL LISTRIK | PANEL LISTRIK DEPAN TPA PPL
PLANT 4 LINE 2 | ADMP4L2FAS | FASUM | FASUM_KLINIK | LAMPU | LAMPU AREA KLINIK
PLANT 4 LINE 2 | ADMP4L2FAS | FASUM | FASUM_KLINIK | PANEL LISTRIK | PANEL LISTRIK AREA KLINIK
PLANT 4 LINE 2 | ADMP4L2FAS | FASUM | FASUM_KLINIK | APAR | APAR AREA KLINIK
PLANT 4 LINE 2 | ADMP4L2FAS | FASUM | FASUM_KANTIN LT.2 & LT.3 | LAMPU | LAMPU AREA KANTIN SAP
PLANT 4 LINE 2 | ADMP4L2FAS | FASUM | FASUM_KANTIN LT.2 & LT.3 | PANEL LISTRIK | PANEL LISTRIK AREA KANTIN SAP
PLANT 4 LINE 2 | ADMP4L2FAS | FASUM | FASUM_KANTIN LT.2 & LT.3 | APAR | APAR AREA KANTIN SAP